## Slide 1: Week 6: Titration and Spectroscopy of Model Compounds
Dr. Turner

## Slide 2: Analysis Techniques
Gravimetric Analysis
Titration Analysis
Spectroscopic Analysis

## Slide 3: Gravimetric Analysis
Dissolved model compound in nitric acid to break it into its separate components
Add barium nitrate to precipitate out the sulfate from the model compound

## Slide 4: Gravimetric Analysis
The barium sulfate is the white powder collected last week on the filter paper on the funnel.
Since we added barium nitrate until the precipitation was completed (no more of the white barium sulfate formed), we know that all of the sulfate from the (0.9 g – 1.1 g) sample of our compound is now in the precipitated barium sulfate (the white powder.
We will use stoichiometry to relate the mass of the precipitated barium sulfate (the white powder) to the amount of sulfate in the model compound.

## Slide 5: Titration analysis
Hydrochloric acid reacts with ammonia in the acid base reaction below
We will dissolve 0.100 g of the model compound in 30 mL of water, and then add HCl to the model compound to react with the complexed ammonia

## Slide 6: Titration analysis
Initial volume
Buret
Standard HCl
Model compound with methyl orange
Add HCl until it has reacted with all the from the model compound
This will be signaled by the color of the solution changing from yellow to orange
Repeat this again

## Slide 7: Spectroscopy analysis
When light is shone on a solution, the light can either be by absorbed by the solute particles or be transmitted (make it through undisrupted).
The more solute particles are present (higher concentration), the more likely the solute particles absorb the light

## Slide 8: Spectroscopy analysis
A spectrometer is a device which analyzes the amount of light that is absorbed by a sample
We can relate the absorbance to concentration by making a standard curve like the one that we made relating density to mass % of sugar
Absorbance
Concentration (M)

## Slide 9: Spectroscopy analysis
We will use the standard curve to determine the copper concentration
To make the standard curve we’ll need to measure the absorbance of solution with known concentrations
You’ll prepare five solutions with varying concentrations of copper and measure their absorbance to get the information needed to make the standard curve
You’ll then measure the absorbance of the model compound and use the standard curve to relate that to the concentration of the model compound

## Slide 10: Finding the empirical formula
You’ll then use your mass percentages of copper, ammonia, and sulfate to determine the empirical formula of your model compound.
Remember, that the formula should be , so any deviations from this formula will be due to error in either the synthesis of the compound or analysis of the compound.